## Ark1
MTO electric a/s | [13 empty] | Tel.: +45 75 800 310
Stiftsvej 14 | [13 empty] | Fax: +34-93.580.96.03
7100 Vejle | [13 empty] | Email: sales@mto-electroc.dk
Danmark | [13 empty] | Website: www.shop.mto-electric.dk
REQUEST FOR QUOTATION
SPECIFICATIONS FOR TRANSFORMERS AND AUTOTRANSFORMERS
Please note that the following fields are either:
|  |  |  | compulsory (grey) |  |  |  |  | or |  | optional (blue)
Company: | [9 empty] | Date:
Country: | [9 empty] | Your ref.:
Item no. 1 |  |  | Quantity required:
Product: | [9 empty] | Application:
Please specify here:
System: | [9 empty] | Total rating:
Primary voltage: | [9 empty] | Primary taps: | [5 empty] | Other: | ?
Secondary voltage: | [9 empty] | Secondary taps: | [5 empty] | Other: | ?
Frequency: | [9 empty] | Connection group: | [5 empty] | Other: | ?
Protection degree: | [5 empty] | Other: | IP ? |  |  | Safety class:
Resin type?: | [9 empty] | Ambient temp.: | [5 empty] | Other: | ºC ?
Winding material: | [9 empty] | Temperature rise:
Max. no-load losses: | [9 empty] | Max. load losses:
Max. dimensions*: | [9 empty] | Short-circuit voltage:
Inrush current: | [9 empty] | Test voltage:
Extras (to be marked with an 'X'):
Transformer related: | [9 empty] | Enclosure related:
| Anti-flash varnish coating | [9 empty] | Removable front plate
| Electrostatic screen | [9 empty] | Corrosion protective paint system
|  | 1 (one) | [9 empty] | Cat. C4 (ISO 12994-2; corrosive ambient)
|  | 3 (three) | [9 empty] | Cat. C5 (ISO 12994-2; very corrosive ambient)
| Wheels (IP00) | [9 empty] | Wheels
| According to DNV, BV, UL, CSA, etc. | [9 empty] | RAL colour
| Specify: | [9 empty] | Specify:
| Temperature sensors | [9 empty] | Stainless steel
Bimetal contact (1 per phase)
|  | PTC (1 per phase) | [7 empty] | Other specifications:
PT100 (1 per phase)
Temperature control board
Anti-condensation system (enclosure required)
Thermostat + heating elements
Thermostat + heating elements + hygrostat
Extractor fan with filter
Industrial sockets/plugs, MCBs, by-pass, etc.
Specify:
*Width x Depth x Height (mm)
Transformers - Reactors - Harmonic Filters - Power Supplies
www.shop.mto-electric.dk
Lista0_ing | Lista5_ing | Lista2_ing | Lista | Lista4_ing | Lista7a | Lista8 | Lista9_ing | Lista10 | Lista11_ing | Lista12_ing | Lista13 | Lista14 | Lista15 | Lista16 | Lista17_ing | Lista18 | Lista19a_ing | Lista20_ing | Lista21_ing
Transformer (with galvanic isolation) | Isolation | Reversible (buck / boost) | 50Hz | Single phase |  | I |  |  | Yes
Autotransformer (w/o galvanic isolation) | Buck / Boost | For artificial neutral | 60Hz | Three phase | IP00 | II | Aluminum | 25ºC | No | Class A (≤60ºC) | ≤8In | X | Yyn0 | VΛ | None | X | ±2,5% ±5% | YN0 | None
| Control / Safety | Toroidal (for voltage regulation) |  | Three phase to single phase | IP23 |  | Copper | 30ºC |  | Class E (≤75ºC) | ≤12In |  | Dyn11 |  |  |  | ±2,5% | ZN0 | Manual variac
| Rectify | Other (to be specified) |  |  | IP31 |  |  | 40ºC |  | Class B (≤80ºC) |  |  | Dyn5 |  |  |  | ±5% | Manual variac | Motorised variac
| Rectify and filter |  |  |  | IP42 |  |  | 45ºC |  | Class F (≤100ºC) |  |  | Yd5 |  |  |  | -10% | Motorised variac
| Portable |  |  |  | IP54 |  |  | 50ºC |  | Class H (≤125ºC) |  |  | Dd0 |  |  |  | -5%
| Medical |  |  |  | IP55 |  |  | 55ºC |  | Class HC (≤135ºC) |  |  | Yzn11 |  |  |  | -2,5%
| For halogen lamps |  |  |  | IP65 |  |  |  |  | Class C (≤150ºC) |  |  | Dzn0 |  |  |  | +2,5%
| Extra low losses (ECO) | [15 empty] | +5%
| Ultra-isolation | [15 empty] | +10%
Swimming pool
Other (to be specified)
Note on E31: Remark: In case different secondaries are required, please indicate them following the next examples: Case A: full rating at different secondaries <not simultaneously>: Single phase / Total rating: 7kVA / Secondary 1: 230V (7kVA) / Secondary 2: 400V (7kVA) Way of indicating this: 230-400 (full rating all taps) Case B: full rating at highest secondary voltage <not simultaneously>: Single phase / Total rating: 7kVA / Secondary 1: 230V (4kVA) / Secondary 2: 400V (7kVA) Way of indicating this: 230-400 Case C: rating distribution per secondary <simultaneously>: Single phase / Total rating: 7kVA / Secondary 1: 230V (2kVA) / Secondary 2: 400V (5kVA) Way of indicating this: 230(2000VA)-400(5000VA)